## tsd_pnet.sites
sites
attribute name | type | type class | default | constraint | description | notes
id | serial4 | numerical |  | PRIMARY KEY - NOT NULL | unique identifier
name | varchar(255) | string |  | NOT NULL | site name
coords | geometry | object | NULL |  | geographical coordinates of the site (default WGS84 SRID) | Example values: POINT (14.9071 37.8887), POLYGON((75 29, 77 29, 77 29, 75 29))
quote | real | numerical | NULL |  | quote | In meters
additional_info | jsonb | object | NULL |  | schema-free additional information | Schema-free additional info are useful for data that can not be modeled in design stage
create_time | timestamp | datetime | now() AT TIME ZONE 'utc'::text |  | record create time
update_time | timestamp | datetime | NULL |  | record update time
remove_time | timestamp | datetime | NULL |  | record remove time
create_user | int4 | numerical | NULL |  | record creator user id
update_user | int4 | numerical | NULL |  | record updater user id
remove_user | int4 | numerical | NULL |  | record remover user id

## tsd_pnet.owners
owners
attribute name | type | type class | default | constraint | description | notes
id | serial4 | numerical |  | PRIMARY KEY - NOT NULL | unique identifier
name | varchar(255) | string |  | NOT NULL | owner name
create_time | timestamp | datetime | now() AT TIME ZONE 'utc'::text |  | record create time
update_time | timestamp | datetime | NULL |  | record update time
remove_time | timestamp | datetime | NULL |  | record remove time
create_user | int4 | numerical | NULL |  | record creator user id
update_user | int4 | numerical | NULL |  | record updater user id
remove_user | int4 | numerical | NULL |  | record remover user id

## tsd_pnet.nets
nets
attribute name | type | type class | default | constraint | description | notes
id | serial4 | numerical |  | PRIMARY KEY - NOT NULL | unique identifier
name | varchar(255) | string |  | NOT NULL | network name
description | varchar(255) | string |  | NOT NULL | brief description about the sensors network
owner_id | int4 | numerical | NULL |  | owner unique identifier | Owner id from "owners"
additional_info | jsonb | object | NULL |  | schema-free additional information | Schema-free additional info are useful for data that can not be modeled in design stage. Example value: { "startDate": "", "doi": "", "restrictedStatus": "open" }
create_time | timestamp | datetime | now() AT TIME ZONE 'utc'::text |  | record create time
update_time | timestamp | datetime | NULL |  | record update time
remove_time | timestamp | datetime | NULL |  | record remove time
create_user | int4 | numerical | NULL |  | record creator user id
update_user | int4 | numerical | NULL |  | record updater user id
remove_user | int4 | numerical | NULL |  | record remover user id

## tsd_pnet.stations
stations
attribute name | type | type class | default | constraint | description | notes
id | serial4 | numerical |  | PRIMARY KEY - NOT NULL | unique identifier
name | varchar(63) | string |  | NOT NULL | station name
coords | geometry | object | NULL |  | geographical coordinates of the station (default WGS84 SRID) | Example value: POINT (14.9071 37.8887)
quote | real | numerical | NULL |  | quote | In meters
site_id | int4 | numerical | NULL |  | site unique identifier | Site id from "sites"
net_id | int4 | numerical | NULL |  | network unique identifier | Net id from "nets"
additional_info | jsonb | object | NULL |  | schema-free additional information | Schema-free additional info are useful for data that can not be modeled in design stage
create_time | timestamp | datetime | now() AT TIME ZONE 'utc'::text |  | record create time
update_time | timestamp | datetime | NULL |  | record update time
remove_time | timestamp | datetime | NULL |  | record remove time
create_user | int4 | numerical | NULL |  | record creator user id
update_user | int4 | numerical | NULL |  | record updater user id
remove_user | int4 | numerical | NULL |  | record remover user id

## tsd_pnet.sensortype_categories
sensortype_categories
attribute name | type | type class | default | constraint | description | notes
id | serial4 | numerical |  | PRIMARY KEY - NOT NULL | unique dentifier
name | varchar(255) | string |  | NOT NULL | sensortype category name | Example values: "Velocimeter", "Accelerometer", "Infrasonic"
json_schema | jsonb | object | NULL |  | defines the structure of the descriptive information for sensortypes belonging to the category (using JSON schema - https://json-schema.org/) such as the instrument response parameters (see field "response_parameters" in sensortype table) | When a sensortype is associated to this category, the descriptive information defined in this schema* will be inherited and must be numerically/alphabetically specified at sensortype level. *Example of JSON schema for "Velocimeter": { "type": "object", "title": "Velocimeter", "properties": { "K": { "type": "number", "title": "K", "description": "Normalization factor" }, "S": { "type": "number", "title": "S", "description": "Sensitivity (V*s/m)" }, "PZ": { "type": "object", "title": "PZ", "description": "Poles and Zeroes", "properties": { "Poles": { "type": "string" }, "Zeroes": { "type": "string" } } }, "fn": { "type": "number", "title": "fn", "description": "Normalization frequency (Hz)" }, "InputUnits": { "type": "string", "default": "m/s", "required": true } }, "additionalProperties": true }
create_time | timestamp | datetime | now() AT TIME ZONE 'utc'::text |  | record create time
update_time | timestamp | datetime | NULL |  | record update time
remove_time | timestamp | datetime | NULL |  | record remove time
create_user | int4 | numerical | NULL |  | record creator user id
update_user | int4 | numerical | NULL |  | record updater user id
remove_user | int4 | numerical | NULL |  | record remover user id

## tsd_pnet.sensortypes
sensortypes
attribute name | type | type class | default | constraint | description | notes
id | serial4 | numerical |  | PRIMARY KEY - NOT NULL | unique identifier
name | varchar(255) | string |  | NOT NULL | sensortype name
model | varchar(255) | string | NULL |  | model name | Example value: "Nanometrics Trillium-40S"
components | jsonb | object | NULL |  | predefined list of components for sensors belonging to this sensor type | Example value: ["HHE", "HHN", "HHZ"]
sensortype_category_id | int4 | numerical | NULL |  | sensor type category unique identifier | Sensor type category id from "sensortype_categories". For example, for "Nanometrics Trillium-40S" can be the id assigned to "Velocimeter" sensor type category
response_parameters | jsonb | object | NULL |  | default attributes are inherited by "json_schema" field of the sensor type category, if defined | Example value for "Nanometrics Trillium-40S": {"K": 110400, "S": 1553, "PZ": {"Poles": "-0.1103+0.1110i ;-0.1103-0.1110i ;-86.3+0.0i;-241+178i ;-241-178i ;-535+719i;-535-719i", "Zeroes": "0;0;-68.8;-323;-2530"}, "fn": 1}
additional_info | jsonb | object | NULL |  | schema-free additional information | Schema-free additional info are useful for data that can not be modeled in design stage
create_time | timestamp | datetime | now() AT TIME ZONE 'utc'::text |  | record create time
update_time | timestamp | datetime | NULL |  | record update time
remove_time | timestamp | datetime | NULL |  | record remove time
create_user | int4 | numerical | NULL |  | record creator user id
update_user | int4 | numerical | NULL |  | record updater user id
remove_user | int4 | numerical | NULL |  | record remover user id

## tsd_pnet.sensors
sensors
attribute name | type | type class | default | constraint | description | notes
id | serial4 | numerical |  | PRIMARY KEY - NOT NULL | unique identifier
name | varchar(255) | string |  | NOT NULL | sensor name
serial_number | varchar(255) | string | NULL |  | hardware serial number
sensortype_id | integer | numerical | NULL |  | sensor type unique identifier | Sensor type id from "sensortypes"
additional_info | jsonb | object | NULL |  | schema-free additional information | Schema-free additional info are useful for data that can not be modeled in design stage
create_time | timestamp | datetime | now() AT TIME ZONE 'utc'::text |  | record create time
update_time | timestamp | datetime | NULL |  | record update time
remove_time | timestamp | datetime | NULL |  | record remove time
create_user | int4 | numerical | NULL |  | record creator user id
update_user | int4 | numerical | NULL |  | record updater user id
remove_user | int4 | numerical | NULL |  | record remover user id

## tsd_pnet.digitizertypes
digitizertypes
attribute name | type | type class | default | constraint | description | notes
id | serial4 | numerical |  | PRIMARY KEY - NOT NULL | unique identifier
name | varchar(255) | string |  | NOT NULL | digitizertype name
model | varchar(255) | string | NULL |  | model name | Example value: "INGV GAIA2-FS"
final_sample_rate | real | numerical | NULL |  | sample rate
final_sample_rate_measure_unit | varchar(255) | string | NULL |  | sample rate measure unit | Example value: "Hz"
sensitivity | real | numerical | NULL |  | sensitivity
sensitivity_measure_unit | varchar(255) | string | NULL |  | sensitivity measure unit | Example value: "Count/Volt"
dynamical_range | real | numerical | NULL |  | dynamical range
dynamical_range_measure_unit | varchar(255) | string | NULL |  | dynamical range measure unit | Example value: "Vpp" (Peak-to-peak voltage)
additional_info | jsonb | object | NULL |  | schema-free additional information | Schema-free additional info are useful for data that can not be modeled in design stage
create_time | timestamp | datetime | now() AT TIME ZONE 'utc'::text |  | record create time
update_time | timestamp | datetime | NULL |  | record update time
remove_time | timestamp | datetime | NULL |  | record remove time
create_user | int4 | numerical | NULL |  | record creator user id
update_user | int4 | numerical | NULL |  | record updater user id
remove_user | int4 | numerical | NULL |  | record remover user id

## tsd_pnet.digitizers
digitizers
attribute name | type | type class | default | constraint | description | notes
id | serial4 | numerical |  | PRIMARY KEY - NOT NULL | unique identifier
name | varchar(255) | string |  | NOT NULL | digitizer logical name
serial_number | varchar(255) | string | NULL |  | hardware serial number
digitizertype_id | integer | numerical | NULL |  | digitizer type unique identifier | Digitizer type id from "digitizertypes"
additional_info | jsonb | object | NULL |  | schema-free additional information | Schema-free additional info are useful for data that can not be modeled in design stage
create_time | timestamp | datetime | now() AT TIME ZONE 'utc'::text |  | record create time
update_time | timestamp | datetime | NULL |  | record update time
remove_time | timestamp | datetime | NULL |  | record remove time
create_user | int4 | numerical | NULL |  | record creator user id
update_user | int4 | numerical | NULL |  | record updater user id
remove_user | int4 | numerical | NULL |  | record remover user id

## tsd_pnet.station_configs
station_configs
attribute name | type | type class | default | constraint | description | notes
id | serial4 | numerical |  | PRIMARY KEY - NOT NULL | unique identifier
station_id | int4 | numerical |  | NOT NULL | unique identifier of the station to which this configuration is related to | Station id from "stations"
sensor_id | int4 | numerical | NULL |  | unique identifier of the sensor to which this configuration is related to | Sensor id from "sensors"
digitizer_id | int4 | numerical | NULL |  | unique identifier of the digitizer to which this configuration is related to | Digitizer id from "digitizers"
start_datetime | timestamp | datetime | now() AT TIME ZONE 'utc'::text | NOT NULL | timestamp to trace since this configuration has been adopted
end_datetime | timestamp | datetime | NULL |  | timestamp to trace how long this configuration adopted, NULL if if it is currently in use
additional_info | jsonb | object | NULL |  | schema-free additional information | Schema-free additional info are useful for data that can not be modeled in design stage
create_time | timestamp | datetime | now() AT TIME ZONE 'utc'::text |  | record create time
update_time | timestamp | datetime | NULL |  | record update time
remove_time | timestamp | datetime | NULL |  | record remove time
create_user | int4 | numerical | NULL |  | record creator user id
update_user | int4 | numerical | NULL |  | record updater user id
remove_user | int4 | numerical | NULL |  | record remover user id

## tsd_pnet.channels
channels
attribute name | type | type class | default | constraint | description | notes
id | serial4 | numerical |  | PRIMARY KEY - NOT NULL | unique identifier
name | varchar(255) | string |  | NOT NULL | channel name
station_config_id | integer | numerical | NULL |  | unique identifier of the related station config | Station configuration id from "station_configs". A station configuration consists of a set of channels. Each new station configuration makes a new set of channels
additional_info | jsonb | object | NULL |  | schema-free additional information | Schema-free additional info are useful for data that can not be modeled in design stage
create_time | timestamp | datetime | now() AT TIME ZONE 'utc'::text |  | record create time
update_time | timestamp | datetime | NULL |  | record update time
remove_time | timestamp | datetime | NULL |  | record remove time
create_user | int4 | numerical | NULL |  | record creator user id
update_user | int4 | numerical | NULL |  | record updater user id
remove_user | int4 | numerical | NULL |  | record remover user id